## File Paths
path_type | path_name
reopt_posts | ./single_load/Runs/6/REopt Posts
reopt_results | ./single_load/Runs/6/REopt Results
timeseries_output_folder | Timeseries Outputs
solar_profile_folder | ./single_load/Runs/6/Solar Factors
default_values_file | ./single_load/Runs/default_post.json
metrics_folder | ./single_load/Runs/6/Metrics
wholesale_price_folder | ./single_load/Wholesale Prices

## REopt Posts
post_name | output_subfolder | description | include_climate_in_objective | load_file | LoadProfile¦year | ElectricTariff¦urdb_label | ElectricTariff¦coincident_peak_load_active_timesteps | ElectricTariff¦coincident_peak_load_charge_us_dollars_per_kw | PV¦min_kw | PV¦max_kw | PV¦existing_kw | solar_production_factor_file | Storage¦min_kw | Storage¦max_kw | Storage¦min_kwh | Storage¦max_kwh
baseload | loads | Home load only - no techs |  | ./single_load/Runs/6/Loads/base_load.csv | 2018 | 5d3f1f715457a3d71ddc8c3b | "null" | "null"
netload_all | loads | Actual loads - net load |  | ./single_load/Runs/6/Loads/netload_all.csv | 2018 | 5d3f1f715457a3d71ddc8c3b | "null" | "null"
netload_pvstor | loads | Actual loads - net load but PV separate prodfac |  | ./single_load/Runs/6/Loads/netloadstor_pvprod.csv | 2018 | 5d3f1f715457a3d71ddc8c3b | "null" | "null" |  |  | 6 | ./single_load/Runs/6/Solar Factors/pv_prod.csv
netloadstor_pvstor | loads | Actual loads - net load with bess charge and PV prodfac with bess discharge |  | ./single_load/Runs/6/Loads/netloadstor_pvstorprod.csv | 2018 | 5d3f1f715457a3d71ddc8c3b | "null" | "null" |  |  | 6 | ./single_load/Runs/6/Solar Factors/pv_prodstor.csv
fixedtech_customer | reopt_optmized | Fixed techs - optimal dispatch for customer savings |  | ./single_load/Runs/6/Loads/base_load.csv | 2018 | 5d3f1f715457a3d71ddc8c3b | "null" | "null" | 6 | 6 |  | ./single_load/Runs/6/Solar Factors/pv_prod.csv | 4 | 4 | 6 | 6
fixedtech_grid | reopt_optmized | Fixed techs - optimal dispatch for grid benefit |  | ./single_load/Runs/6/Loads/base_load.csv | 2018 |  |  |  | 6 | 6 |  | ./single_load/Runs/6/Solar Factors/pv_prod.csv | 4 | 4 | 6 | 6
fixedtech_allbenefits | reopt_optmized | Fixed techs - optimal dispatch for customer savings and grid benefit |  | ./single_load/Runs/6/Loads/base_load.csv | 2018 | 5d3f1f715457a3d71ddc8c3b | "null" | "null" | 6 | 6 |  | ./single_load/Runs/6/Solar Factors/pv_prod.csv | 4 | 4 | 6 | 6
fixedtech_climate | reopt_optmized | Fixed techs - optimal dispatch for customer savings and climate impact | true | ./single_load/Runs/6/Loads/base_load.csv | 2018 | 5d3f1f715457a3d71ddc8c3b | "null" | "null" | 6 | 6 |  | ./single_load/Runs/6/Solar Factors/pv_prod.csv | 4 | 4 | 6 | 6
sizedtech_customer | reopt_optmized | Sized techs - optimal dispatch for customer savings |  | ./single_load/Runs/6/Loads/base_load.csv | 2018 | 5d3f1f715457a3d71ddc8c3b | "null" | "null" | 0 | 1000 |  | ./single_load/Runs/6/Solar Factors/pv_prod.csv | 0 | 1000 | 0 | 1000
sizedtech_climate | reopt_optmized | Sized techs - optimal dispatch for customer savings and climate impact | true | ./single_load/Runs/6/Loads/base_load.csv | 2018 | 5d3f1f715457a3d71ddc8c3b | "null" | "null" | 0 | 1000 |  | ./single_load/Runs/6/Solar Factors/pv_prod.csv | 0 | 1000 | 0 | 1000

## Generate Metrics
results_folder | results_name | baseline_folder | baseline_name | baseline_type | wholesale_price_path
loads | netload_all | loads | baseload |  | Wholesale Prices.csv
loads | netload_pvstor | loads | baseload |  | Wholesale Prices.csv
loads | netloadstor_pvstor | loads | baseload |  | Wholesale Prices.csv
reopt_optmized | fixedtech_customer | loads | baseload |  | Wholesale Prices.csv
reopt_optmized | fixedtech_grid | loads | baseload |  | Wholesale Prices.csv
reopt_optmized | fixedtech_allbenefits | loads | baseload |  | Wholesale Prices.csv
reopt_optmized | fixedtech_climate | loads | baseload |  | Wholesale Prices.csv
reopt_optmized | sizedtech_customer | loads | baseload |  | Wholesale Prices.csv
reopt_optmized | sizedtech_climate | loads | baseload |  | Wholesale Prices.csv
reopt_optmized | fixedtech_allbenefits | reopt_optmized | fixedtech_customer |  | Wholesale Prices.csv
reopt_optmized | fixedtech_allbenefits | reopt_optmized | fixedtech_grid |  | Wholesale Prices.csv

## API Keys
key_name | key_val
pv_watts | eb14ACcUKmGtJT8WeB4kuJayhFNhWTSxpLTonqZ7
urdb | 2qt5uihpKXdywTj3uMIhBewxY9K4eNjpRje1JUPL
reopt | eb14ACcUKmGtJT8WeB4kuJayhFNhWTSxpLTonqZ7